| SUPERSERVICIO CUATRO CAMINOS S.A DE C.V. |  |  |  |  | ESTACIÓN DE SERVICIO |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Relación de Mejores Prácticas y Estándares |  |  |  |  |  |  |  |  |
| Código: |  | Fecha: |  | Revisión: |  |  |  |  |
| F-09-01 |  | 17/07/2025 |  | 0 |  |  |  |  |
| No. | Marco normativo |  | Descripción |  |  | Aplicable por etapa |  |  |
|  |  |  |  |  |  | Operación | Manteni miento | Inspección |
| 1 | NOM-001-SEDE-2012 |  | Instalaciones eléctricas (utilización) |  |  | X | X | X |
| 2 | NMX-E-181-CNCP-2006 |  | Industria del plástico-Tubos y conexiones de poli (cloruro de vinilo clorado) (CPVC) para sistemas de distribución de agua caliente y fría- Especificaciones y métodos de ensayo. |  |  | X | X | X |
| 3 | NMX-E-226/1-SCFI-199 |  | Industria del plástico- Tubos de polipropileno (PP) para unión roscada empleados para la conducción de agua caliente y fría en edificaciones- Especificaciones. |  |  | X | X | X |
| 4 | NMX-E-226/2-CNCP-2007 |  | Industria del plástico- Tubos de polopropileno (PP) para unión por termofusión empleados para la conducción de agua caliente o fría- Serie Métrica- Especificaciones. |  |  | X | X | X |
| 5 | ASTM A36 |  | Standard Specification for Carbon Structural Steel, American Standard for Testing Materials. |  |  | X | X | X |
| 6 | ASTM A53 |  | Standard Specification for Pipe, Steel, Black and Hot- Dipped, Zinc-Coated, Welded and Seamless, American Standard for Testing Materials. |  |  | X | X | X |
| 7 | ASTM B62 |  | Standard Specification for Composition Bronze or Ounce Metal Castings, American Standard for Testing Materials. |  |  | X | X | X |
| 8 | ASTM A105 |  | Standard Specification for Carbon Steel Forgings for Piping Applications, American Standard for Testing Materials. |  |  | X | X | X |
| 9 | ASTM A216 |  | Standard Specification for Steel Castings, Carbon, Suitable for Fusion Welding, for High-Temperature Service, American Standard for Testing Materials. |  |  | X | X | X |
| 10 | ASTM A234 |  | Standard Specification por Pipes Fittings of Wrought Carbon Steel and Alloy Steel for Moderate and High Temperature Service, American Standard for Testing |  |  | X | X | X |

|  |  | Materials. |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 11 | ASTM 1785 | Standard Specification for Poly (Vinyl Chloride)(PVC) Plastic Pipe, Schedules 40, 80, and 120, American Standard for Testing Materials. | X | X | X |
| 12 | ISO-15874-1:2013 | Plastics piping systems for hot and cold water installations-Polypropylene (PP)- Part 1: General, International Standards Organizations. | X | X | X |
| 13 | NFPA 14 | Standard for the Installation of Standpipe, Private Hydrants, and Hose Systems; National Fire Proteccion Association. | X | X | X |
| 14 | NFPA 20 | Standard for the Installation of Sationary Pumps for Fire Proteccion, National Fire Protection Association. | X | X | X |
| 15 | NFPA 30 | Flammable and Combustible Liquids Code; National Fire Protection Association. | X | X | X |
| 16 | NFPA 30A | Code for Motor Fuel Dispensing Facilities and Repair Garages; National Fire Protection Association. | X | X | X |
| 17 | NFPA 70 | National Electrical Code, National Fire Protection Association. | X | X | X |
| 18 | Manual de diseño de obras civiles. | Emitido por la Comisión Federal de Electricidad, versión 2008. | X | X | X |
| 19 | PEI-RP-100 | Recommended Practices for Installation of Underground Liquid Storage Systems, Petroleum Equipment Industry. | X | X | X |
| 20 | UL-58 | Standard for Safety for Steel Underground Tanks for Flammable and Combustible Liquids, Underwriters Laboratories Inc. | X | X | X |
| 21 | UL-79 | Standard for Power-Operated Pumps for Petroleum Dispensing Products. | X | X | X |
| 22 | UL-340 | Standard for Tests for Comparative Flammability of Liquids, Underwriters Laboratories Inc. | X | X | X |
| 23 | UL-971 | Standard for Nonmetallic Underground Piping for Flammable Liquids. | X | X | X |
| 24 | UL-1316 | Standard for Safety for Glass-Fiber-Reinforced Plastic Underground Storage Tanks for Petroleum Products, Alcohols, and Alcohol-Gasoline Mixtures, Underwriters | X | X | X |

|  |  | Laboratories Inc. |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 25 | UL-1746 | External Corrosion Protection Systems for Steel Underground Storage Tanks, Underwriters Laboratories Inc. | X | X | X |
| 26 | UL-2085 | Standard for Safety for Protected Aboveground Tanks for Flammable and Combustible Liquids, Underwriters Laboratories Inc. | X | X | X |
| 27 | UL-2244 | Standard for Safety Aboveground Flammable Liquid Tank Systems. | X | X | X |
| 28 | Acuerdo de la Secretaría de Energía que determina los lugares de concentración pública para la verificación de las instalaciones eléctricas. | Publicado en el Diario Oficial de la Federación el 28 de noviembre de 2011. | X | X | X |
| 29 | NOM-005-SCFI-2017 | Instrumentos de medición-Sistema para medición y despacho de gasolina y otros combustibles líquidos - Especificaciones, métodos de prueba y de verificación. | X | X | X |
| 30 | NOM-063-SCFI-2001 | Productos eléctricos - Conductores - Requisitos de seguridad. | X | X | X |
| 31 | NOM-185-SCFI-2017 | Programas informáticos y sistemas electrónicos que controlan el funcionamiento de los sistemas para medición y despacho de gasolina y otros combustibles líquidos - Especificaciones, métodos de prueba y de verificación. | X | X | X |
| 32 | NOM-003-SEGOB-2011 | Señales y avisos para protección civil - Colores, formas y símbolos a utilizar. | X | X | X |
| 33 | NOM-052-SEMARNAT-2005 | Que establece las características, el procedimiento de identificación, clasificación y los listados de los residuos peligrosos. | X | X | X |
| 34 | NOM-138-SEMARNAT/SSA1-2012 | Límites máximos permisibles de hidrocarburos en suelos y lineamientos para el muestreo en la caracterización y especificaciones para la remediación. | X | X | X |
| 35 | NOM-001-STPS-2008 | Edificios, locales, instalaciones y áreas en los centros de trabajo - Condiciones de seguridad. | X | X | X |

| 36 | NOM-002-STPS-2010 | Condiciones de Seguridad - Prevención y protección contra incendios en los centros de trabajo. | X | X | X |
| --- | --- | --- | --- | --- | --- |
| 37 | NOM-005-STPS-1998 | Relativa a las condiciones de seguridad e higiene en los centros de trabajo para el manejo, transporte y almacenamiento de sustancias químicas peligrosas. | X | X | X |
| 38 | NOM-009-STPS-2011 | Condiciones de seguridad para realizar trabajos en altura. | X | X | X |
| 39 | NOM-017-STPS-2024 | Equipo de protección personal - Selección, uso y manejo en los centros de trabajo. | X | X | X |
| 40 | NOM-018-STPS-2015 | Sistema para la identificación y comunicación de peligros y riesgos por sustancias químicas peligrosas en los centros de trabajo. | X | X | X |
| 41 | NOM-020-STPS-2011 | Recipientes sujetos a presión, recipientes criogénicos y generadores de vapor o calderas - Funcionamiento - Condiciones de Seguridad. | X | X | X |
| 42 | NOM-025-STPS-2008 | Condiciones de iluminación en los centros de trabajo. | X | X | X |
| 43 | NOM-026-STPS-2008 | Colores y señales de seguridad e higiene, e identificación de riesgos por fluidos conducidos en tuberías. | X | X | X |
| 44 | NOM-027-STPS-2008 | Actividades de soldadura y corte - Condiciones de seguridad e higiene. | X | X | X |
| 45 | NOM-031-STPS-2011 | Construcción - Condiciones de seguridad y salud en el trabajo. | X | X | X |
| 46 | NOM-033-STPS-2015 | Condiciones de seguridad para realizar trabajos en espacios confinados. | X | X | X |
| 47 | N-CMT-5-03-001 | Características de los materiales, Parte 5 Materiales para señalamiento y dispositivos de seguridad. (SCT - Libro CMT). | X | X | X |
| 48 | NMX-R-050-SCFI-2006 | Accesibilidad de las personas con discapacidad a espacios construidos de servicio al público - Especificaciones de Seguridad. | X | X | X |
| 49 | Manual de Proyecto Geométrico de Carreteras. | Secretaría de Comunicaciones y Transportes, 1991. | X | X | X |
| 50 | API RP 1621 | Bulk Liquid Stock Control at Retail Outlets, American | X | X | X |

|  |  | Petroleum Institute. |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 51 | ISO 10628-1:2014 | Diagrams for the chemical and petrochemical industry — Part 1: Specification of diagrams. | X | X | X |
| 52 | ISO 10628-2:2012 | Diagrams for the chemical and petrochemical industry - Part 2: Graphical symbols. | X | X | X |
| 53 | Fire protection handbook. | National Fire Protection Association. | X | X | X |
| 54 | Manual de construcción en acero. | Diseño por esfuerzos permisibles IMCA, 5 edición, 2014, Instituto Mexicano de la Construcción en Acero. | X | X | X |
| 55 | Manual of steel construction 3rd edition. | American Institute of Steel Construction, Inc. | X | X | X |
| 56 | NEMA Standards Publication. | National Electrical Manufacturers Association. | X | X | X |
| 57 | NFPA 90ª | Standard for the Installation of Air-Conditioning and Ventilating Systems; National Fire Protection Association. | X | X | X |
| 58 | NFPA 303 | Fire Protection Standard for Marinas and Boatyards; National Fire Protection Association. | X | X | X |
| 59 | NFPA 780 | Standard for the installation of Lightning Protection Systems. | X | X | X |
| 60 | NRF-028-PEMEX-2010 | Diseño y construcción de recipientes a presión. | X | X | X |
| 61 | NRF-137-PEMEX-2012 | Diseño de estructuras de acero terrestres. | X | X | X |
| 62 | PEI/RP-800 | Prácticas Recomendadas por el Petroleum Equipment Institute. | X | X | X |
| 63 | R891-91 | Recommended Practice for Hold Down Strap Isolation; Steel Tanks Institute. | X | X | X |
| 64 | R892-91 | Recommended Practice for Corrosion Protection of Underground Piping Networks Associated With Liquid Storage And Dispensing Systems; Steel Tanks Institute. | X | X | X |
| 65 | R893-89 | Recommended Practice for External Corrosion Protection of Shop Fabricated Aboveground Tank Floors; Steel Tanks Institute. | X | X | X |
| 66 | RP011-01 | Recommended Practice for Anchoring Of Steel Underground Storage Tanks; Steel Tanks Institute. | X | X | X |
| 67 | RP100-UST | Recommended Practices for Installation of Underground Liquid Storage Systems; Petroleum Equipment Institute. | X | X | X |
| 68 | RP200-AST | Recommended Practices for Installation of | X | X | X |

|  |  | Aboveground Storage Systems for Motor Vehicle Fueling; Petroleum Equipment Institute. |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 69 | RP-300 | Recommended Practices for Installation and Testing of Vapor Recovery Systems at Vehicle Fueling Sites; Petroleum Equipment Institute. | X | X | X |
| 70 | RP-400 | Recommended Procedure for Testing of Electrical Continuity of Fuel-Dispensing Hanging Hardware; Petroleum Equipment Institute. | X | X | X |
| 71 | Appendix II-F | Protected Aboveground Tanks for Motor Vehicle Fuel- Dispensing Stations Outside Buildings; Uniform Fire Code. | X | X | X |
| 72 | NOM-022-STPS-2015 | Electricidad estática en los Centros de Trabajo - Condiciones de Seguridad. | X | X | X |
| 73 | SWRI 93-01 | Testing Requirements for Protected Aboveground Flammable Liquid Fuel Storage Tanks; SouthWest Research Institute. | X | X | X |
| 74 | TP-201.1E | Leak Rate and Cracking Pressure of Pressure/Vacuum Vent Valves. | X | X | X |
| 75 | TP-201.2B | Flow and Pressure Measurement of Vapor Recovery Equipment. | X | X | X |
| 76 | TP-201.3 | Determination of 2 Inch WC Static Pressure Performance of Vapor Recovery Systems of Dispensing Facilities. | X | X | X |
| 77 | TP-201.3A | Determination of 5 Inch WC Static Pressure Performance of Vapor Recovery Systems of Dispensing Facilities. | X | X | X |
| 78 | TP-201.3C | Determination of Piping Connections to Underground Gasoline Storage Tanks (Tie-Tank Test). | X | X | X |
| 79 | TP-201.4 | Dynamic Back Pressure. | X | X | X |